## Sheet1
service_date | instrument_id | session | start | end | status | hold_reason
2026-05-11 | INST-1 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-11 | INST-1 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-11 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-11 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-11 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-11 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-12 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-12 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-12 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-12 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-12 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-12 | INST-3 | PM | 12:30:00 | 16:30:00 | protected | clinical-priority batch overflow (protected)
2026-05-13 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-13 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-13 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-13 | INST-2 | PM | 12:30:00 | 16:30:00 | protected | proficiency-testing panel (protected)
2026-05-13 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-13 | INST-3 | PM | 12:30:00 | 16:30:00 | free
2026-05-14 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-14 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-14 | INST-2 | AM | 08:00:00 | 12:00:00 | protected | proficiency-testing panel (protected)
2026-05-14 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-14 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-14 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-15 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-15 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-15 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-15 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-15 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-15 | INST-3 | PM | 12:30:00 | 16:30:00 | blocked | lamp replacement service (blocked)
2026-05-18 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-18 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-18 | INST-2 | AM | 08:00:00 | 12:00:00 | free
2026-05-18 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-18 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-18 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-19 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-19 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-19 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-19 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-19 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-19 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-20 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-20 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-20 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-20 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-20 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-20 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-21 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-21 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-21 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-21 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-21 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-21 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-22 | INST-1 | AM | 08:00:00 | 12:00:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-22 | INST-1 | PM | 12:30:00 | 16:30:00 | blocked | analyser fenced after failed calibration verification (blocked)
2026-05-22 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-22 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-22 | INST-3 | AM | 08:00:00 | 12:00:00 | free
2026-05-22 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-25 | INST-1 | AM | 08:00:00 | 12:00:00 | free
2026-05-25 | INST-1 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-25 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-25 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-25 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-25 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-26 | INST-1 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-26 | INST-1 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-26 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-26 | INST-2 | PM | 12:30:00 | 16:30:00 | free
2026-05-26 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-26 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-27 | INST-1 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-27 | INST-1 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-27 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-27 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-27 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-27 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-28 | INST-1 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-28 | INST-1 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-28 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-28 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-28 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-28 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-29 | INST-1 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-29 | INST-1 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-29 | INST-2 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-29 | INST-2 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load
2026-05-29 | INST-3 | AM | 08:00:00 | 12:00:00 | busy | scheduled assay load
2026-05-29 | INST-3 | PM | 12:30:00 | 16:30:00 | busy | scheduled assay load